
|  |  |  |
| --- | --- | --- |
| Sl No | Name of the Equipment | Applicable Design Code |
| 1. | Air Cooled Condenser | [HEI](tempfileforhyperlink.pdf) |
| 2. | BFP | [HIs](tempfileforhyperlink.pdf) |
| 3. | CEP | [HIs](ansi_hi_14-6-2011.pdf) |
| 4. | Condenser (water cooled) | HEI |
| 5. | Deaerator | HEI for Deaerator |
|  |  |  |
| 6. | EOT Crane | IS3177,IS807,IS800,IS2266, |
| 7. | Heaters | HEI for heaters |
|  |  | IBR |
|  |  | ASME Section VIII Div I |
|  |  | ASME II D |
| 8. | Heat Exchangers | API662(for PHE),TEMA |
|  | Turbine | IEC-45 |
|  | TDP |
|  |  |  |
| 9. | Vacuum Pump | HEI for vacuum pump design |
|  | HEI for vacuum pump testing |
|  | PNEUROP |
| 10. | Miscellaneous | EJMA |
|  |  |  |



**CODES AND STANDARDS**